# City of Ferguson

# Environmental Impact Report

# 2012

Contents

Introduction	3

Energy Conservation for City Operations	3

Current Consumption Data	3

Electricity	3

Natural Gas	6

Looking Back at 2012	8

2013 Goals and Initiatives	9

Solid Waste and Recycling	11

Current Data	12

Looking Back at 2012	12

2013 Goals & Initiatives	13

Building Codes and Construction	14

Looking Back at 2012	14

2013 Goals & Initiatives	14

Conclusion	15

Appendix	17

Ordinance 2009-3382	17

Introduction

As required by Ordinance #2009-3382 (more commonly referred to as the “Environmental Ordinance”, and attached to this report as Appendix A),  the following pages contain the “annual report to the City Council reporting the energy consumption performance for [the] previous year and the plan of reduction or plan for continued maintenance.”  The report is divided into three primary areas: Energy Conservation, Recycling and Solid Waste, and Building Codes/Construction.  Each area consists of a review of 2012 consumption data, followed by a look at the policies or initiatives that were accomplished in the past year, and concludes with a look ahead at the plans for 2013 to help reduce or maintain levels of consumption.

# Energy Conservation for City Operations

## Current Consumption Data

### Electricity

Upon passage of the Environmental Ordinance, the City has set a goal of reducing energy consumption by 30% within five years from the date the ordinance was passed in 2009.  To measure our progress, base rate data from 2008 was gathered and used to calculate the target levels of electricity and natural gas reduction.  For 2012, electricity consumption citywide (including electricity used at City facilities, for street lights, parking lots, parks, and traffic lights) was down 11.05% compared to 2011, and down 7.9% from the base level in 2008.

Chart 1: Electricity Consumption Citywide, 2012

Electricity Consumption at Primary City Facilities

Compared to the base rate data from 2008, 2012 saw an 8% decrease in the amount of kilowatt hours used at our primary municipal facilities.  All of these facilities are cooled during the spring/summer/fall months using electricity provided by AmerenMissouri. Year-round lighting of these facilities is also provided by AmerenMissouri.

The chart below summarizes the total number of kilowatt hours used at Ferguson’s primary facilities since 2008.  The red line indicates the City’s progress towards meeting the goal of reducing electricity consumption by 30% by the end of 2013.  To keep pace with this goal, the City would hope to see a 6% reduction every year.  However, as the City has decreased its electricity from year to year, with a 3.5% decrease from 2011, with one year left to achieve this goal, it appears the goal will not be achieved.  For our goal to be reached by the end of 2013, the City would have to see a decrease of nearly 24% from 2012.  This can only be achieved with a significant capital investment to upgrade existing systems.

Chart 2: Electricity Consumption at Primary City Facilities

Cooling Degree Days

Due to the City’s efforts and increased awareness, consumption went down significantly in 2012 after an increase in 2010 (when we saw a 4.2% increase in # of kilowatt hours used).  To explain what may be happening, City Staff examined the number of degree days in the St. Louis area for each of the past four years.  In laymen’s terms, degree days are a measure of the outside air temperature that takes into account by how much (in degrees) and for how long (measured in days, half-days, hours, etc.) the outside temperature was above or below a specific base temperature.  For an explanation of how degree days are calculated, please visit http://knol.google.com/k/degree-days#.

Chart 3: Total Cooling Degree Days (temperature was above 65 degrees)

Chart 4: Total Cooling Degree Days (temperature was above 65 degrees)

| Month | 2008 | 2009 | 2010 | 2011 | 2012 |
| --- | --- | --- | --- | --- | --- |
| January | 6 | 0 | 0 | 0 | 1 |
| February | 3 | 6 | 0 | 6 | 0 |
| March | 6 | 32 | 19 | 29 | 100 |
| April | 40 | 65 | 120 | 71 | 82 |
| May | 92 | 154 | 190 | 180 | 305 |
| June | 365 | 397 | 472 | 413 | 438 |
| July | 452 | 342 | 551 | 639 | 710 |
| August | 374 | 372 | 542 | 508 | 453 |
| September | 207 | 189 | 239 | 162 | 180 |
| October | 60 | 14 | 107 | 82 | 56 |
| November | 14 | 16 | 20 | 13 | 8 |
| December | 1 | 0 | 0 | 0 | 6 |
| Total Degree Days | 1620 | 1587 | 2260 | 2103 | 2339 |

Source: www.degreedays.net, using data collected from the nearest weather station at Lambert Intl. Airport

Degree days are used to show the energy required to cool or heat a building if the temperature rises above or falls below the base temperature set for the building.  Chart 3 above shows the number of cooling degree days (CDDs) in the St. Louis Area from 2008-2012.

65 degrees is a standard base temperature used by many organizations when calculating degree days, and is the base temperature used for the figures shown above.  There was a substantial increase in the number of CDDs (nearly a 45% increase) from 2008 to 2012, so it would follow that more energy would be required to cool the buildings during those periods with a high number of CDDs.

While 65 degrees is a good base rate to calculate the number of degree days, in reality, thermostats throughout the City’s primary facilities are not always set to 65 degrees. Depending on the time of year and the comfort level of the employees working in each area controlled by a thermostat, the number of CDDs, and thus the amount of energy needed to cool the area, will vary from building to building.  Regardless, this measure allows the City to more adequately and accurately compare and utilize year-over-year electrical consumption data for proper analysis.

Taking into consideration these degree days, the City has actually decreased consumption in its primary facilities by 33%, since 2008.  Dividing the total number of kilowatt hours used at the City’s primary facilities by the number of peak CDDs during that year (April-September), reveals that in 2008 the City used 397.14 kWh/CDD.  In 2009, that number went up to 404.80 kWh/CDD, in 2010 the City used 309.22 kWh/CDD, in 2011 the usage was 305.66 kWh/CDD, and in 2012 the City decreased to a usage of 265.54 kWh/CDD.   This decrease in 2012 is significant as 2012 was the fourth warmest summer on record in the St. Louis area.

### Natural Gas

Compared to 2008, 2012 saw a dramatic reduction in natural gas consumption by 36.4%, which would indicate that we have currently surpassed the City’s goal of reducing consumption by 30% by the end of 2013 (see chart below).  Gas consumption was down across all main facilitates in 2012 compared to 2011 with a significant decrease of 19% by the police department alone.  Heating of City facilities is provided by Laclede Gas.

Chart 5: Natural Gas Consumption at Primary City Facilities

Goal

(30% Reduction)

Heating Degree Days

As with electricity consumption, an explanation for the gas consumption can be provided by looking at the number of heating degree days (HDDs) from 2008-2012.  As evidenced by the milder peak HDDs (January through March and October through December) in 2012, there was a decrease in the number of total HDDs compared to 2011, from 4,392 HDDs in 2011 to 3,704 HDDs in 2012.  Chart 6 below shows the number of cooling degree days (CDDs) in the St. Louis Area from 2008-2012.

Taking into consideration these degree days, the City has actually decreased natural gas consumption by 9% since 2008. Dividing the total number of therms used by the number of peak HDDs (January – March and October – November) yields the following results: 2008: 8.31 therms/HDD; 2009: 8.34 therms/HDD; 2010: 7.53/HDD; 2011: 7.51 therms/HDD; 2012: 5.41 therms/HDD.  This shows that there was a 2% decrease from 2011 to 2012 and that the City has been on a trend of declining natural gas consumption per peak HDDs every year since 2008.  It should also be noted that the winter of 2011/2012 was the sixth warmest winter on record.

Chart 6: Total Heating Degree Days (temperature was below 65 degrees)

Chart 7: Total Heating Degree Days (temperature was below 65 degrees)

| Month | 2008 | 2009 | 2010 | 2011 | 2012 |
| --- | --- | --- | --- | --- | --- |
| January | 989 | 1111 | 1164 | 1152 | 845 |
| February | 944 | 730 | 960 | 795 | 684 |
| March | 651 | 515 | 510 | 585 | 238 |
| April | 356 | 330 | 146 | 208 | 208 |
| May | 145 | 91 | 90 | 138 | 33 |
| June | 6 | 11 | 0 | 1 | 14 |
| July | 2 | 4 | 2 | 0 | 0 |
| August | 6 | 13 | 2 | 0 | 2 |
| September | 43 | 43 | 44 | 91 | 56 |
| October | 262 | 357 | 200 | 231 | 315 |
| November | 614 | 402 | 499 | 445 | 573 |
| December | 1003 | 964 | 1069 | 746 | 736 |
| Total Degree Days | 5021 | 4571 | 4686 | 4392 | 3704 |

## Looking Back at 2012

2012 was a year in which the City worked to build on initiatives started in 2011.  The City continued to strive for stricter adherence to the Environmental Ordinance and to assist management in collecting and analyzing appropriate data.  The following examines those initiatives directly related to energy consumption.

Efforts of Ferguson Environmental Committee

The Ferguson Environmental Committee met on a semi-regular basis throughout 2012.  The Committee consists of Council Member Dwayne James, Ken Hogshead, Mark Jorden of Emerson Electric, and City staff members Rosalind Williams, Director of Planning & Development; Matt Unrein, Director of Public Works; and Pam Hylton, Assistant City Manager.  The purpose of the Committee is to help achieve the goals expressed in the Environmental Ordinance, by bringing new ideas to the table and recommending changes to the City Council and staff for consideration.  The input provided by the Committee in 2012 has already proven invaluable.

Lighting Retrofit

2012 was the first full year in which the lighting retrofit has been fully implemented.  The success of this project was illustrated by the 3.5% decrease in 2012 for electric consumption.

In the fall of 2011, a retrofit of existing lighting at several City-owned facilities, as well as the Ferguson Library was completed.  Through grant funding provided by the Energy Efficiency and Conservation Block Grant (EECBG), Ferguson and 14 other municipalities in St. Louis County applied as a group to secure funding to retrofit existing lighting and replace it with more energy-efficient, environmentally-friendly lighting and controls.

Information Technology Improvements

Over the past year the Information Technology division has continued virtualizing servers using VMware software, which divides a single server into separate virtual private servers that can perform different tasks on the same machine.  In several cases, the City has been able to replace two or more old servers with a single new server using this approach, which results in less energy consumption and cooler temperatures in the server room, because less physical hardware is now actually required to run and cool these systems.  Despite these efforts the equipment, which is housed in the basement of City Hall, still needs to be relocated to a more appropriate area with a climate controlled environment to allow for maximum efficiency.

## 2013 Goals and Initiatives

Focus on High Utilizers of Electricity and Natural Gas

Analysis of 2012 usage reports indicates that the Police Department is the biggest consumer of both electricity and natural gas.  The following charts indicate the percentage of energy used at each facility compared to the overall total.  In 2013, each facility will also be evaluated based upon usage per square footage which should allow for a more accurate comparison.

Chart 8: Electricity Consumption by Facility, 2012

The Police Department and both fire houses combined account for 61% of the electricity consumed among all facilities.  Of course, police and fire are 24-hour operations that require constant temperatures and adequate lighting during all hours of the day, so it would be expected that they would be the City’s largest consumers of electricity.  However, because they are the largest consumers, they also present the biggest opportunity to reduce consumption levels.

In January 2013, the new Fire Station #1 became operational.  The new building is approximately 25,000 square feet which is three times the size of the old building.  The building has been designed to maximize energy efficiency equipped with new energy efficient lighting, sensors, and a new HVAC system as well.  Staff will monitor usage of electricity and gas in the new building for this year and compare usage with the former building on a square foot basis.

The Police Department will undergo a complete renovation beginning in the summer of 2013.  The project will include additional lighting and HVAC updates which should result in significant energy savings.  The project is being designed to qualify for LEED silver rating, although the City does not intended to pursue the certification process.

Chart 9: Natural Gas Consumption by Facility, 2012

Focus on Employee Education

Efforts will continue to be focused in the coming year to educate employees on how they can reduce energy usage in our facilities and other operations.  Employees will be reminded to turn off lights in offices when they will be vacant for a period of time.  The cost of installing motion detector switches in offices will be explored.  Employees who drive City vehicles will be directed to limit idling of vehicles in order to conserve fuel.

Promote PACE and SAVES Programs

Efforts will be focused in the coming year to promote the Property Assessed Clean Energy (PACE) program which was approved as a resolution by the City Council in January 2012.  The resolution enabled the City to join the Missouri Clean Energy District which allows owners of commercial facilities to secure loans to retrofit their buildings for energy efficiency, saving them money, adding value to their properties, and creating new jobs.  This new loan allows business owners to pay for their efficiency-related upgrades (like more insulation, better windows, and improved HVAC systems) and renewable energy (like geothermal heat pumps, wind & solar system) improvements to their buildings and repay project costs over a period up to 10 years through a special assessment on their property taxes that passes to the next owner, if the property is sold.  Staff will also work to promote the residential SAVES program, which is similar to PACE but designed to assist homeowners with improving energy efficiency.

Solar Energy

Staff will explore the possibilities of installing solar panels on some City facilities.  City Hall, the new Fire Station #1, the Police Station, Public Works Garage, and the future Community Center site have all been identified as locations suitable for the installation of solar panels.

Energy Audit

The next step in the process of improving the energy efficiency of our City buildings is to conduct an energy audit.  Staff has identified a few companies that perform these audits to review the operations of our City facilities and suggest improvements in the way of upgrading HVAC equipment; replacing windows; improving the insulation in City buildings; and re-evaluating how we operate our buildings.  In addition, these companies also provide assistance in obtaining assistance in funding these improvements by way of grants and lease arrangements. The City’s goal of reducing energy consumption by 30% by 2013, while very lofty, is not remotely feasible unless more extensive and costly capital investments are made to City facilities.

Information Technology Department Relocation

In an effort to improve the performance of the City’s servers, the Information Technology Department will be relocated from the basement of City Hall to a more suitable location elsewhere in the City Hall complex.  The exact location has yet to be identified but funds have been budgeted to secure the services of a consultant to identify the best possible location and to design a climate control system to properly maintain the temperature in the new server room to allow for maximum efficiency of the equipment.

# Solid Waste and Recycling

The second area addressed in the Environmental Ordinance is solid waste and recycling.  The Three R’s of sustainability are Reduce, Reuse, and Recycle.  Efforts have been positive citywide in this area, as the following chart illustrates.

As the chart on the next page shows, citywide, Ferguson is moving in the right direction with respect to both the amount of solid waste being generated in the City (down 24.85% from 2008) and the amount of materials being recycled (up 23.01% from 2008).  Residents should be extremely proud of these efforts.

The amount of yard waste generated decreased in 2012 by 9% from 2011.  Even with a slight increase in yard waste from last year (2011), largely attributed to the tornado which struck Ferguson on April 22, 2011, overall yard waste still declined by 11.66% from 2008.

## Current Data

Chart 10: Recycling, Yard Waste and Solid Waste Consumption, Citywide

## Looking Back at 2012

Recycling Efforts

Through cooperation with the Special School District of St. Louis County, the recycling program implemented with students from McCluer North High School in 2010 continues to be successful.

The City has also continued to promote recycling in City facilities by locating recycling bins in prominent locations to encourage use by employees and visitors.  In addition, recycling bins have been purchased for use at City sponsored events to encourage the public to recycle when attending these events and to show the City’s commitment to sustainability.

Recycling Grant to promote Residential Recycling

In 2011, the City successfully applied for a grant from the St. Louis County Department of Health to participate in a county-wide program to promote residential recycling.  The program, which began in August and which continued until October 2012, partners the City with St. Louis County and the non-profit Curbside Value Partnership to promote RecyclingBecomesMe.com. This grant provided the City with $7,148 to improve the recycling set out rate in the City over the year of the grant.  In 2007, the City‘s participation rate was 28%.  In 2012, this rate was calculated to be 37% which is a 9% increase over the 2007 study.  St. Louis County promoted the program through an extensive media campaign including print and radio advertisements as well as special events throughout the county.  City Staff promoted this program at the Farmer’s Market and at neighborhood meetings.

Paperless Council Meetings

In October 2011, Council Members were issued iPads as part of the process to implement a paperless agenda for Council Meetings.  In early 2012, iPads were also purchased for Department Directors.  This has resulted in a paperless budget process which previously required the printing of approximately twenty draft budget documents consisting of almost a ream of paper per document.  Additional savings have resulted as these employees have readily accepted the new technology and are using the devices for all meetings and to access frequently used documents such as the budget, capital improvement plan, personnel manual, agendas for meetings, and to take notes.   The estimated savings of paper and copier supplies is $3,200 annually which pays for the iPad purchases in just over a year and a half.

Recycling Grant to promote Commercial Recycling

In 2012, the City applied for and received a $46,000 grant through St. Louis County Solid Waste for a Recycling and Waste Reduction Grant.  The purpose of the grant is to encourage commercial businesses to participate in commercial single-stream recycling programs.

Document Management System

In 2012, the City began implementation of a document management system.  The initial purpose of the system is to maintain information on vouchers and supporting documentation needed to issue vendor checks.  The data is captured and stored electronically, instead of in hard copy form, which results in less physical storage space required to hold these documents.

## 2013 Goals & Initiatives

Staff efforts will continue to focus on recycling while working toward the ideal solution of working in an environment that doesn’t produce paper to begin with.  On that note, the City will strive to make significant progress towards that goal in 2013.

Promote Residential Recycling

While the grant mentioned earlier has been completed, the City is committed to continuing the promotion of residential recycling through community outreach efforts.  Staff will have booths at the Farmer’s Market, continue to distribute promotional materials explaining what items can be recycled, and continue to speak at neighborhood meetings.  Each of these efforts will continue to focus on the goal of improving the City’s participation rate.  The City will also partner with our recycling company, Republic Services, to host other recycling events such as electronics recycling.

Recycling Grant to promote Commercial Recycling

As mentioned above, the City has received a grant for $46,000 to promote the participation of commercial businesses in commercial single-stream recycling programs.  In 2013, the City will work with participating businesses to construct dumpster enclosures to meet the City’s code requirements and subsidize the cost of recycling service.  It is estimated that the funding will enable up to thirteen businesses to participate in the program.

Document Management System

In 2013, the use of the document management system will be expanded to maintain other documents aside from documents and files generated by the Finance Department.  Uses of the system will be expanded to the City Clerk’s Office and personnel files.  It is estimated that within 2-3 years, the City could cut overall paper consumption by 50-75% by fully utilizing this system.

# Building Codes and Construction

## Looking Back at 2012

In February 2012, ground was broken for the new fire station.  The project was completed at the end of 2012.  Numerous environmentally-friendly features were incorporated into the design which closely adhered to LEED sustainability standards, including the following:

- using urban infill and/or renovation of existing sites as opposed to a greenfield site development is a fundamentally eco-friendly practice - when a City chooses to redevelop in an existing urban area or renovate an existing structure, there were tremendous environmental and energy benefits because creating new vehicular roadways, new utilities and infrastructure and at the same time disturbing "green" sites are all avoided through redevelopment or renovation

- the fire station has highly-efficient HVAC systems that will use less electricity/gas and cost less to operate

  - fresh air:  the new HVAC systems provides a higher ratio of fresh air return inside the building, creating a healthier indoor air environment

- the use of high efficiency light fixtures reduces the amount of electricity needed and costs less to operate and maintain

- materials within the building are considered green as specifications for these materials required a high degree of recycled materials and low-VOC/toxicity in all interior finishes

- the new fire station is effectively insulated and the glass is high performance glazing, again reducing the overall energy consumption of the building

- using low flow water closets and urinals to reduce water consumption

- using native plantings for our landscape design to reduce their water dependence and maintenance issues

- using a masonry exterior for the fire house, which provides for longevity and low maintenance of the building over the long term

## 2013 Goals & Initiatives

In 2013, the City will begin two renovation projects, the Police Station and the new Community Center.  The Police Station project will include numerous environmentally friendly elements and will closely adhere to LEED standards.

Several environmentally-friendly features have been incorporated into the police station design, including the following:

- the police station will be renovated and include the addition of a court room, reuse of an existing building as opposed to new construction is inherently “green”

- the police station will have highly-efficient HVAC systems that will use less electricity/gas and cost less to operate

  - fresh air:  the new HVAC systems will provide a higher ratio of fresh air return inside the building, creating a healthier indoor air environment

- the use of high efficiency light fixtures will reduce the amount of electricity needed and cost less to operate and maintain

- materials within the building will be green as specifications for these materials will require a high degree of recycled materials and low-VOC/toxicity in all interior finishes

- the police station will be more effectively insulated and the glass will be high performance glazing, again reducing the overall energy consumption of the buildings

- using low flow water closets and urinals to reduce water consumption

- using native plantings for our landscape design to reduce their water dependence and maintenance issues

- using a masonry exterior for the addition of the court room, which provides for longevity and low maintenance of the building over the long term

The new Community Center will be in the renovated former Blessed Teresa of Calcutta church and school complex.  The renovation of this location will include several environmentally friendly features including the following:

- the reuse of an existing building as opposed to new construction is inherently “green”

- the community center will have highly-efficient HVAC systems that will use less electricity/gas and cost less to operate

  - fresh air:  the new HVAC systems will provide a higher ratio of fresh air return inside the building, creating a healthier indoor air environment

- the use of high efficiency light fixtures will reduce the amount of electricity needed and cost less to operate and maintain

- materials within the building will be green as specifications for these materials will require a high degree of recycled materials and low-VOC/toxicity in all interior finishes

- the community center windows will be replaced with glass with high performance glazing, again reducing the overall energy consumption of the buildings

- using native plantings for our landscape design to reduce their water dependence and maintenance issues

# Conclusion

In conclusion, this report demonstrates the City has made significant progress towards reaching the goals outlined in the Environmental Ordinance.  Although Ferguson did not comparatively see a dramatic reduction in energy consumption in any one area, the planned energy audit in 2013 should provide the City with additional areas to make improvements.  Increased focus on educating employees on the ways they can contribute to reducing our energy consumption will also be a focus of our efforts in 2013.

The City continues to reap the benefit from the creation of the Environmental Committee.  By assembling a group of staff and elected officials, residents, and representatives from other area institutions and companies who are knowledgeable on such issues, the City has been able to expand and diversify our level of expertise and bring about a much more thorough review of City policies and practices.  This group has been able to provide quality recommendations to not only reconstruct the report to provide more valuable and pertinent information, but continues to act as the driving force behind any recommendations to the City Council.

With respect to our established goals for reducing the City’s waste reduction and recycling efforts, we are continuing to improve much more rapidly.  In terms of City wide efforts, the City’s continuation of the RecyclingBecomesMe.Com campaign will help to bring the importance of recycling to the forefront in the minds of our residents and in 2013 we will begin to extend this effort to our commercial businesses.  At the City level, we will continue to look for ways to reduce our paper consumption by improving our technology in terms of document storage and through the expanded use of iPads.

The Ferguson City Council will recognize the improvement of this year’s report and the data that was collected and analyzed.  The City would like to thank the members of the Environmental Committee for their assistance in improving the quality of the data included in this year’s report.  The City also extends its gratitude to members of the City Manager’s Office, Planning and Development, and the Department of Public Works for their contributions to this report.

# Appendix

## Ordinance 2009-3382

(AMENDED) BILL NO. 6869			ORDINANCE NO. 2009-3382

INTRODUCED BY COUNCIL MEMBER DWAYNE T. JAMES

#### AN ORDINANCE OF THE CITY OF FERGUSON IMPOSING NEW ENERGY-CONSERVATION REQUIREMENTS ON CITY OPERATIONS; AMENDING CHAPTER 37 (“SOLID WASTE”) OF THE MUNICIPAL CODE RELATING TO RECYCLING; AND AMENDING CHAPTER 7 (“BUILDING AND BUILDING REGULATIONS” RELATING TO DESIGN AND CONSTRUCTION OF NEW AND REMODELED HOMES AND BUILDINGS

Whereas, the City of Ferguson (hereinafter referred to as the “City”) has recognized the importance of implementing programs in the City that promote sustainable energy and environmental awareness; and

Whereas, the City has been named Tree City USA for the past several years and is committed to the benefits and importance of our tree population from new trees being introduced into our City through the Tree Dedication program to the trees providing shade for our parks and streets to the City trimming and cutting down trees after they have served their life course only to be used as mulch and firewood for our neighbors; and

Whereas, the City promotes the use alternative modes of travel through its Jolly Trolley for Seniors and the lunch-time trolley service to neighboring employers and schools through its Ferguson Station Business District; and

Whereas, the City, in partnership with Trailnet, is currently engaged in a Live Well Ferguson initiative aimed at improving resident health through physical activity and healthy eating; and

Whereas, the City is seeking to further encourage the voluntary diversion of residential, commercial, and special event waste through recycling to decrease the amount of waste in landfills  helping the environment and reducing the need for new landfills; and

Whereas, it is the intent of Council to ensure that buildings built or substantially renovated by the City are built in the most environmentally sound way; and

Whereas, the City shall encourage site planning, landscaping, and structure design which maximizes the potential for energy conservation by reducing the demand for artificial heating, cooling , ventilation and lighting, and facilitating the use of solar and other energy resources; and

Whereas, it is the intent of the Council to provide the citizens and employees of the City of Ferguson with new and renovated buildings which will give the optimum comfort, ensure the durability of investments for the taxpayer, consider the health of building occupants and provide the greatest awareness possible of environmental impacts of what we do.

NOW, THEREFORE, BE IT ORDAINED BY THE CITY COUNCIL OF THE CITY OF FERGUSON, MISSOURI, AS FOLLOWS:

Section 1.	Chapter 2 is hereby amended by the addition of a new Section 2-4 which shall read as follows:

CHAPTER 2		ADMINISTRATION

ARTICLE I		IN GENERAL

SECTION 2-4		ENERGYCONSERVATIONREQUIREMENTSFORCITY

OPERATIONS

In order to reduce paper usage and waste and increase efficiency, the City Manager shall develop, implement and maintain a plan to reduce at least 30% less energy of its 2008 usage and 20% of the 2008 waste generated by the City. Such reduction shall occur within the next five years. As part of the budget process, the City Manager shall include an annual report to the City Council reporting the energy consumption performance for that previous year and the plan of reduction or plan for continued maintenance. Possible environmental-friendly avenues and processes for the City to consider in its plan include:

1.	Utilizing the Council Intranet site on the City website as web-based portal to house Council documents, such as meeting agendas, minutes, ordinances, supporting documents. Council and City staff will have access to these documents from any PC, home or office and can view all necessary documents online during Council meetings, eliminating the need for hard-copies in most circumstances;

2.	Acquiring products and services that have a lesser or reduced effect on human health and the environment when compared with competing products or services that serve the same purpose in all purchases;

3.	Incorporating energy efficient pulse type heating systems in City-owned buildings;

4.	Using environmentally safe light bulbs to reduce energy waste;

5.	Replacing a portion of City-owned vehicles with hybrids, or using bio-diesel in the fleet vehicles;

6.	Requiring solicitors to include instructions asking bidders to identify any environmental benefits over the life cycle of their products and/or services in bid procurement services;

7.	Adding information on to the City’s Website that contains environment education on topics like landscaping, recycling and energy efficiency; and

8.	Promoting the use of Neighborhood Gardens.

Section 2.	Section 37-1 of Chapter 37 is hereby amended by the addition of the following definitions:

[all other definitions are not altered or amended and remain in full force and effect]

CHAPTER 37		SOLID WASTE

ARTICLE I		IN GENERAL

SECTION 37-1	DEFINITIONS

Certified Recyclable Materials Collector means a Recyclable Materials Collector which has been issued a certificate by the City pursuant to this Division.

Collect or Collection shall mean to take physical possession of and remove solid waste or recyclable materials at the place of generation.

Commercial facilities means any facilities that are not residential facilities or mixed use facilities.

Disposal means the final deposition of waste at a permitted landfill or other permitted waste facility.

Diversion or Divert means the reduction or elimination of solid waste from landfill disposal.

Recycling facility means a recycling, composting, or materials recovery or reuse facility.

Self-haul means the process of personally, or through one’s own full-time employees, collecting, transporting, and delivering one’s own solid waste or recyclable materials.

Section 3.	Chapter 37 of the Municipal Code is hereby amended by a new Section 37-5 which shall read as follows:

CHAPTER 37		SOLID WASTE

ARTICLE I		IN GENERAL

SECTION 37-5	RECYCLING REQUIREMENTS

A.	Purpose. The purpose of this Division is to establish requirements for recycling of recyclable materials generated from residential facilities (both single family and multi-family), commercial facilities (including City buildings), and special events. These requirements are intended to increase the diversion of recyclable materials from landfill disposal, reduce greenhouse gas emissions, and defer potential financial obligations associated with waste to the City.

B.         Service Requirements.  Those who are provided with curbside recycling collection services (i.e., single-family residential) within the City of Ferguson shall be encouraged to utilize such services by separating recyclable materials from other solid waste and depositing the recyclable materials in the approved container. All owners of residential facilities containing more than three (3) separate dwelling units shall provide, in addition to typical trash hauling services, for removal of recyclable material from such property. The owners shall provide approved recyclable material containers that are clearly identified within two (2) years of the effective date of this ordinance. Furthermore, all owners of commercial facilities within the City of Ferguson shall be encouraged to utilize recycling collection services.

The recyclable material removal services required by this Section shall include, at a minimum, all of the following:

- collection of recyclable materials as frequently as necessary to meet demand;

- collection of plastic bottles and jars, paper, newspaper, metal containers, cardboard, and glass containers;

- collection of other recyclable materials for which markets exist;

- designated recycling collection and storage areas; and

- signage on all recycling receptacles, containers, chutes, and/or enclosures.

C.	Recycling at Special Events Required. For any community special event held after May 1, 2009, which requires any type of license or permit from the City of Ferguson, the person or entity responsible for such event shall provide recycling receptacles throughout the event venue.

1.	The number of recycling receptacles shall equal the number of solid waste

receptacles.

2.	The solid waste and recycling receptacles shall be placed next to one another throughout the event venue.

3.	The types of recyclable materials suitable for deposit into each recycling receptacle shall include, at a minimum, aluminum and metal cans, and glass and plastic bottles and jars.

4.	Each recycling receptacle shall be clearly identified as a recycling receptacle and shall display a list of the types of recyclable materials which may be deposited into the recycling receptacle.

5.	The responsible person shall ensure that the recyclable materials deposited into the recycling receptacles are as identified above.

D.	Exemptions. Exemptions to some or all of the requirements of this Section may be granted at the discretion of the City Manager’s designee. Applications for exemptions may be granted upon consideration of the following factors: available markets for recyclable materials, available space for recycling containers, alternative recycling efforts, and the amount and type of solid waste or recyclable materials generated. To be effective, an exemption must be in writing and signed by the City Manager. An exemption may be revoked at any time at the discretion of the City Manager if one or more of the factors justifying the exemption no longer exist, or other change in circumstances warrant revocation. Unless earlier revoked, an exemption shall be effective for a period of one year from the date it was granted. Subsequent applications for exemptions may be granted at the discretion of the City Manager’s designee upon consideration of the factors listed in this section.

E.	Scavenging of Recyclable Materials Prohibited. No person other than an appropriate waste hauler permitted by the City of Ferguson to collect the recyclable materials, shall remove or otherwise interfere with recyclable materials which have been placed at a designated recycling or recyclable materials collection location.

Section 4.	Chapter 7 of the Municipal Code is hereby amended by the addition of a new Section 7-44 which shall read as follows:

CHAPTER 7		BUILDING AND BUILDING REGULATIONS

ARTICLE III		BUILDING CODE

SECTION 7-44	ADDITIONAL REQUIREMENTS FOR THE DESIGN AND

CONSTRUCTION OF NEWAND REMODELED HOMES AND

BUILDINGS

A.	Purpose. The purpose of the requirements set forth herein is to provide for the enhancement of sustainable energy and environmentally friendly efforts during building construction. It is further the intent of the City Council to ensure that the development of public buildings is done in an environmentally friendly manner as well as to encourage environmentally conscious private commercial, industrial and residential development. The Program shall be mandatory for the development of all City-Owned construction projects, and is encouraged for all private commercial, industrial and residential development projects.

B.	Definitions. For purposes of this Section, the following terms shall mean:

Construction means any project associated with the creation, development, or erection of any building or facility that is 5,000 square feet of floor area or greater.

Green building means generally the resource efficient design, construction, and operation of buildings by employing environmentally sensible construction practices, systems, and materials.

LEED means the Leadership in Energy and Environmental Design Rating System of the U.S. Green Building Council.

LEED for Existing Buildings means the USGBC rating system that applies to existing buildings and addresses whole-building cleaning and maintenance issues (including chemical use), recycling programs, exterior maintenance programs, and systems upgrades.

Project means any construction associated with the creation, development, or erection of any building or facility.

Remodeling means any renovation or remodeling project (commercial or residential) that includes a total cost greater than fifty-one percent (51%) of the appraised value of the property.

USGBC means the U.S. Green Building Council.

C.		City-Owned Construction Projects.

1.	Any buildings built or remodeled with City funds shall be developed in accordance with, at a minimum, the LEED “silver” certification designation or another nationally-recognized certification program., as long as the estimated energy savings exceed the marginal cost of the energy saving features over the expected life of the building and subject to fiscal constraints established by the City Manager. On a project-by-project basis, the City Manager may determine that the costs or requirements associated with participating in the Program substantially outweigh the benefits of such participation. Such a determination shall amount to a waiver of the requirement that City comply with the provisions of this Chapter. In order to avoid increased cost of operation, care shall be taken to avoid complex systems that would require extensive technical training of personnel.

2.	Design documents shall include an explanation of how the features listed below are incorporated into the design or, for those features not incorporated, an explanation of the financial or operational reasons why the feature was omitted from the design. Energy saving features, including but not limited to the following:

(a)	Solar orientation, with the long axis facing south

(b)	Use of daylighting

(c)	Use of appropriate glass for minimizing heating and cooling loads

(d)	Insulation beyond minimum standards

(e)	Use of renewable energy for heating and cooling

(f)	Use of renewable energy for heating and swimming pools

(g)	Use of water conservation measures including dual water systems if

available

(h)	Landscaping for summer cooling effect and for blocking winter winds

(i)	Use of energy efficient motors

(j)	Use of energy efficient lighting

(k)	Use of energy management systems

(l)	Parking areas designed to limit heat absorption

(m)	Use of building materials and color to decrease cooling load

D.	Private Construction Projects.

1.	New Residentially Permitted Projects: The permit applicant for new residential construction, shall be encouraged to satisfy the requirements associated with the current USGBC LEED for Homes program, as may be amended from time to time; or a nationally-recognized equivalent ratings system.

2.	Remodeling of Existing Homes: The permit applicant for remodeling of existing homes shall be encouraged to satisfy the requirements of remodeling certification for the current LEED for Homes program, as may be amended from time to time; or a nationally-recognized equivalent ratings system.

3.	New Commercial or Industrial Buildings: The permit applicant for new commercial or industrial buildings construction shall be encouraged to satisfy the requirements associated with the current LEED for New Construction or derived USGBC LEED rating system (e.g., LEED for Schools, LEED for Health Care) program, as may be amended from time to time; or a nationally-recognized equivalent ratings system.

4.	Remodeling of Existing Commercial and Industrial Buildings: The permit applicant for the remodeling of existing commercial and industrial buildings shall be encouraged to satisfy the requirements associated with the current LEED for existing buildings or derived USGBC LEED rating system (e.g., LEED for Schools, LEED for Health Care) program, as may be amended from time to time; or a nationally-recognized equivalent ratings system.

5.	Incentives:  Permit applications submitted pursuant to this Section shall be given priority over other permit applications. The City shall use its best efforts to ensure that building permit applications for residential and commercial green buildings shall be processed within 30 business days. All such applications shall be accompanied by an appropriate green building program application form.

6.	Certification: The verification of the green building designation shall be subject to certification by a qualified third party who has been trained and certified as a green building certifying agent. Applicants shall be responsible for all costs associated with certification.

Section 5.		This Ordinance shall be in full force and effect from and after the date of its passage by the City Council.

FIRST READING: February 10, 2009   SECOND READING: February 24, 2009

PASSED AND APPROVED BY THE CITY COUNCIL OF THE CITY OF FERGUSON, MISSOURI, THIS 24thDAY OF FEBRUARY 2009.

Brian P. Fletcher, Mayor

ATTEST:

City Clerk